## Fit-out BOQ
BILL OF QUANTITIES - FIT-OUT PROJECT
Item No. | Description | Unit | Qty | Rate | Amount
1.1 | Supply and install 60x60cm high-quality porcelain floor tiles, color light beige, including mortar bed, grouting, protective sheet, and cleaning. To be selected by consultant. | m2 | 120 | 150 | 18000
1.2 | Supply and install solid teak wood skirting 10cm height, satin lacquer finish, including all fixings and accessories. | m | 85 | 45 | 3825
2.1 | Supply and install solid core timber doors, size 900x2200mm, with walnut veneer finish, including hardwood frame, architrave, heavy-duty stainless steel hinges, mortise lockset, and door closer. | No | 12 | 1200 | 14400
2.2 | Supply and install glazed aluminum double doors, size 1800x2200mm, powder coated finish, 12mm clear tempered glass, with floor spring, handles, and locks. | No | 4 | 2500 | 10000
2.3 | Supply and install stainless steel push plates and pull handles for doors as per schedule. | set | 16 | 180 | 2880
3.1 | Supply and install gypsum board suspended ceiling, 12mm thickness, moisture resistant for wet areas, including metal framing, joint tape, sanding, and 3 coats of emulsion paint. | m2 | 140 | 95 | 13300
3.2 | Supply and install 60x60cm mineral fiber tile lay-in ceiling with exposed T-grid system, including all hangers and wall angles. | m2 | 95 | 75 | 7125